**Document 6 PRICE SCHEDULE FOR INFANT WARMER**

**Lot 1 Ref#: UA / MI / Health Project -MZR / 039 (Project: Provision of life-saving and integrated health care and nutrition services for crisis-affected people in Afghanistan)**

**Note:**

1. Please mention your bid / quote on this form along with your sign and stamp on each page or in the same manner on your letter head.

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **S/No** | **Item Name** | | **Specification** | **Unit Type** | **Qty** | **Unit Price (AFN)** | | **Total Amount (AFN)** | **Remarks** |
| 1 | Infant Warmer | | Infant Radiant Warmer machine BN-100 (Standard) + BL-60D, with phototherapy Unit Microprocessor-controlled temperature (32-38 degree C) Modes: Pre-warm/Manual/Auto adjustable heater head & bed angle, Safety alarms: power failure, sensor error, over-temperature. LED phototherapy (420-490 nm) with adjustable intensity. LCD timer display for phototherapy. Power: 220 V, 50 HZ, with high quality | PCS | 6 |  | |  |  |
|  |  | **GRAND TOTAL (AFN)** | | | | |  | | | |

**Name of Bidder** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ **Business Name** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Signature & Stamp of Bidder\_\_\_\_\_**\_\_\_\_\_\_\_\_\_\_\_\_

**Date** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**Contact Number of Bidder\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Office Address of Bidder\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**